## Sheet1
Items for Surplus at PBIA Bld. 505
Items | [6 empty] | Quantity
Pallet of electronic items (including electronic boards) | [5 empty] | …………….. | 3 Pallets
Andover controllers Infinity Series 800 IDX V2.16; Small UPS units, Mfr: APC
Vicon Cameras; IT cabinet enclosure with racks
Concrete Bricks | ……………………………………………………………………………………………….... | [5 empty] | 6 Pallets
Lot of Airfield Items( not complete assym.)
Constant current regulator: 1 phase, Vin = 208V, 60HZ, 22A, Pout= 4KW, FAA-L-82 | [6 empty] | 1
Constant current regulator: 1 phase, Vin = 480V, 60HZ, Ii= 18A, Pout=7.5KW, FAA-L-82 | [6 empty] | 2
Constant current regulator: 1 phase, Vin = 208V, 60HZ, Ii= 18A, Pout=30KW@ 6.6A FAA-L-82 | [6 empty] | 2
Fire Pump (new) with controller |  |  |  | …………………………………………. |  |  | 1 pallet
Mfr: Bell& Gossett; Size:80SC BF 8.75 8X8X9 - 1/2
Max W.P. PSI : 175; GPM: 1700; FT:55; HP:30HP; RPM: 1800
Portable Generator |  | …………………………………………………………………………………. |  |  |  |  | 1 pallet
MFR: Dayton; Power: 3500W; Current: 29.2/14.6A; Frequency: 60Hz; V: 180/240V
Overhead door motors |  | ………………………………………………………………………….. |  |  |  |  | 1 Pallet(2)
Recessed lighting Fixtures/ Model: 800-13QT; Power: 13W | [6 empty] | 3 Pallets
Lighting Fixtures - 175W MH ; MFR; Beta Lighting | [6 empty] | 16
lighting fixture( Indoor, 4x2, T8) |  |  | …………………………………………………………………. 12 |  |  |  | 12
Portable (small) AC units |  | ………………………………………………………………………………… |  |  |  |  | 1 Pallet(13)
Egg crate(1/2" cubes) |  | ………………………………………………………………………………… |  |  |  |  | 1 Pallet
Lighting Fixture (175MH, MFR: BETA LIGHTING) |  |  |  | ……………………………………………… |  |  | 1 Pallet(16)
Umbrella bags | ……………………………………………………………………………….. |  |  |  |  | 1 Pallet ( 26 boxes)
Ice - Machie ( Mfr: Ice O Matic) |  |  | ………………………………………………………………… |  |  |  | 1
Medical overhauls | ………………………………………………………………………………………………… | [5 empty] | 2 pallets
Motors + package of sound attenuation Fire blankkets |  |  |  |  | ……………………………… |  | 1 pallet
AP Armaflex Pipe Insulation( 6" IPS X 1/2" wall; 12 linear ft) |  |  |  |  | ……………………………… |  | 1 pallet
Aluminium Poles for parking lot lights |  |  | ……………………………………………………………….. |  |  |  | 10
Medium Voltage(MV) Motor control; MFR: Westinghouse Ampgard | [6 empty] | 1